Sub bottom Profiler

| Parameter | Example |
| --- | --- |
| Type | Parametric Sub-bottom Profiler |
| Instrument | Innomar “SES -2000” |
| Frequency (Primary) | 85–115 kHz |
| Frequency (secondary) | 2-22 kHz |
| Pulse Width (ms) | 0.07-1.0 |
| Ping rate(ms) | Up to 40 pings |
| Data Format | SEG-Y |
| Software (processing) | SESWIN |

Survey: Offshore sand prospecting

Date : 05th -19th  September 2023

Location: Off_Negombo

Vessel: Tharanga (NARA Boat)